| Cat.6A S/FTP Patch Cord |  |  |
| --- | --- | --- |
| The equip® Cat.6A S/FTP Patch Cord is composed of preeminent materials and fully-examined to comply with industrial standards. Offering higher bandwidth and better signal-to-noise margin, the Cat.6A cable is able to deliver ultrahigh and error-free performance in the most demanding network environments, especially for the10G application. |
| l Key Feature 26AWG 500MHz Stranded PIMF (pairs in metal foil) Gold plated pins Molded boot Cable length printed on plug Halogen free LSZH |
| l Typical Applications IEEE 802.3: 10Base-T; 100Base-T; 1000Base-T ; 10GBASE-T IEEE 802.5 16 MB; ISDN; TPDDI; ATM |
| l Structure |
| l Specification Conductor Material Bare Copper Construction 26AWG, 7/0.152 ± 0.005mm Insulation Thickness MIN at any point: 0.2 mm / MAX AVG:0.35 mm Diameter 1.05 ± 0.05mm Colors Blue-White/Blue, Orange-White/Orange, Green-White/Green, Brown-White/Brown Jacket Material LSZH Thickness MIN at any point: 0.50mm / MAX AVG: 0.60mm Diameter 6.1 ± 0.2mm |
| l Ordering Information Packing: equip zip bag |

# Text boxes

Insulation

Bare Copper

Jacket

Mylar

Braiding

Al Foil